## Slide 1: HCEC and HREC Project Justine Smith Lab, Flinders University AU
Phil Wilmarth, PSR Core, OHSU
August 31, 2016

## Slide 2: Background
5 paired biological samples: cultured endothelial cells from human choroid and retina tissues
Large-scale, deep proteomics sequencing using fast linear ion trap
  Off-line SCX into 35-40 fractions
  2-hour RP second dimension separations
  Roughly 500,000 MS2 scans per sample
  4.6 million MS2 scans in total
General goals
  Definitive proteome determination
  Accurate quantitative comparison
  Strict control of errors

## Slide 3: Proteome determination
Can only ID proteins if they are in protein database
What protein database to use?
UniProt best for protein curation and annotation
UniProt now creates reference proteomes
  Response to termination of IPI (international protein index) project
  Combination of Swiss-Prot (manually curated) and TrEMBL (computer annotated) entries.
  TrEMBL entries are filtered (how?)
  Swiss-Prot entries for some species also have defined isoforms
    These are available in FASTA format and can be used in proteomics
    Human and mouse mainly
    Human now has 24,000 isoforms, more than the 20,000 canonical sequences

## Slide 4: Complete vs. minimally redundant protein DB
A very large dataset has potential to discover alternative and rare proteins
A more “complete” protein database is necessary to identify alternative protein forms
“Complete” databases have increased peptide redundancy (peptides that map to more than one protein sequence)
Peptide redundancy complicates quantification
Minimally redundant protein databases (Swiss-Prot canonical sequences) are better for quantification and annotation
We have conflicting goals (deep identifications and accurate quantification) so use both databases

## Slide 5: Data analyzed with UniProt reference proteome DB and with Swiss-Prot DB
Human reference proteome (UP000005640) with isoforms was used for maximal identifications
Reference DB had 91,738 sequences (downloaded Jan. 2016)
Human Swiss-Prot (reviewed sequences) without isoforms (canonical sequences only) was used for quantification
Swiss-Prot DB (Sprot) had 20,146 sequences (downloaded Jan. 2016)

## Slide 6: PAW pipeline (http://link.springer.com/article/10.1007/s12177-009-9042-6)
Suite of Python programs with precise error control of large datasets and extensions for quantification and annotations
Uses Proteowizard MSConvert to create MS2 format search engine input files
Uses Comet (open-source SEQUEST) for protein database searching
Uses target/decoy strategy and peptide subclassing to visually set score threshold for strict error control
Uses accepted parsimony logic for protein inference adapted for large datasets
Differential expression analysis with R package edgeR

## Slide 7: MS2 file creation
There were 415 RAW files
Proteowizard release: 3.0.9490 (2016-3-22)
Compressed text files from MS2 scans were created using command line calls to MSConvert
Text files converted to MS2 format using Python script
  Computes correct MH+ mass
  Appropriately rounds m/z and intensity values

## Slide 8: Comet searches
Comet Version 2016.01 rev. 2
Mass tolerances: parent ion 2.5 Da Ave, fragment ions 1.0005 Da Mono (optimal parameters for linear ion traps)
y- and b-ions with neutral loss ions used in scoring
Trypsin cleavage with a maximum of 2 missed cleavages
Variable oxidized Met modification (M+16)
Static alkylated Cys modification (C+57)

## Slide 9: PAW error control
All data combined for global score distribution histograms
Histograms separated by peptide charge state (1+, 2+, and 3+) and modification state (unmodified and oxidized Met)
Distributions to target matches overlaid with distributions to decoy matches in threshold-setting GUI application
Score thresholds were set at 1.0% PSM FRD independently in each peptide class
PSMs with scores below thresholds were removed
All filtered PSMs were mapped to proteins experiment-wide
Identical peptide sets were grouped and peptide subsets were removed (parsimony logic)
Two peptide rule applied per sample for final noise removal

## Slide 10: Comparison of results between databases
Category | Reference proteome with isoforms | Sprot canonical only | Size Factor
Number of proteins in database (target only) | 91,738 | 20,146 | 4.55
Number of distinct theoretical peptides | 5,472,886 | 4,637,980 | 1.18
Number of confident PSMs (expanded by proteins) | 6,078,135 | 2,012,371 | 3.02
Number of associated proteins | 33,965 | 9,616 | 3.53
Number after grouping redundant peptide sets | 21,835 | 9,449 | 2.31
Number after removing peptide subsets | 9,463 | 9,153 | 1.03
Number after 2 peptide per sample criteria | 6,880 | 6,495 | 1.06
Number after homology grouping | 6,274 | 6,274 | 1.00
MS2 scans passing thresholds were 1.41 million in both cases at an FDR of 1.1%
Despite much larger numbers of protein sequences, reference DB results in a proteome that is only 6% larger after basic parsimony logic
After extended parsimony logic, the number of identified proteins is the same

## Slide 11: Why doesn’t reference DB result in more IDs?
Low sequence coverage for most proteins does not contain the informative peptides that distinguish isoforms
There are 24,000 isoforms for human currently
Most human proteins have annotated isoforms
This dataset has evidence for just 368 isoforms of 168 proteins from 5000+ proteins/proteins groups
There were 310 proteins/protein groups identified from TrEMBL entries (majority carry valid descriptions)
Majority of human proteome already represented in Swiss-Prot

## Slide 12: Protein errors grow rapidly in larger experiments
Reference proteome results in 11,874 redundant protein IDs from the 1.41 million PSMs (1.1% PSM FDR).
There are 85 contaminant proteins and 1098 decoy proteins.
Non-redundant counts are 6880 (total); 55 contaminants and 458 decoys. The raw protein FDR is 7.2%.
Decoy protein matches tend to be unique to each sample and grow linearly with number of samples.
Correct protein numbers grow asymptotically with increasing sample number.
Per sample protein IDs are about 4500 with about 45 decoys; per sample protein FDR is low (<1%).
Experiment-wide protein FDR is too large.

## Slide 13: Options for controlling protein FDR
Reduce incorrect peptides by decreasing PSM FDR until desired experiment-wide FDR is achieved
  This will hurt overall sensitivity
Reduce the chance for incorrect proteins by requiring protein to be observed in more than one sample
  This is somewhat arbitrary and there is not much fine control
Exploit repeated observation and the fact that correct PSMs have larger discriminant scores than incorrect PSMs
  Compute the sum of discriminant scores from all PSMs associated with proteins experiment-wide
  Rank proteins by decreasing score total
  Use counts of target and decoy proteins to compute protein FDRs
  Convert protein FDRs to q-values
  Filter on q-values to achieve desired overall protein FDR

## Slide 14: Protein FDR results
Reference proteome DB (excluding contaminants)
  6367 non-redundant target proteins with 458 decoy proteins
  7.2% protein FDR is much greater than commonly accepted 1%
Multiple sample heuristic
  2 or more samples: 5747 (177) 3.1%
  3 or more samples: 5294 (114) 2.2%
  5 or more samples: 4629 (54) 1.2%
Total experiment-wide protein score ranking function
  0.03 q-value: 5938 (178) 3.0%
  0.02 q-value: 5655 (113) 2.0%
  0.01 q-value: 5042 (50) 1.0%
Protein ranking approach outperforms multiple sample heuristic at similar protein FDR values

## Slide 15: Final protein identification numbers
Experiment-wide protein ranking function used to achieve 1% protein FDR
Reference proteome DB: 5042 (50) non-redundant proteins/protein groups, excluding contaminants
Swiss-Prot canonical DB: 4343 (43) non-redundant proteins/protein groups, excluding contaminants
  Smaller DB results in more decoy proteins from similar number of decoy PSMs
  More decoys means that the list cut at a 1% protein FDR will result in a smaller number of proteins (all other factors being equal)
  There are 478 identified proteins in the reference proteome analysis that are missing from Swiss-Prot
  Difference in ID numbers matches expectation

## Slide 16: Quantification is different from identification
In large scale proteomics studies, many low abundance proteins will not be observed consistently across samples
Most statistical testing is not very tolerant of missing data
Consistent detection becomes likely at modest abundance levels above the mass spec detection threshold
Instead of requiring some sort of missing data threshold (e.g. protein seen in at least 4 out of 5 samples in each cell type), an alternative is to require a minimum average spectral count where the average is across all 10 samples
This is more tolerant of a protein present in one cell type but absent in the other cell type
A minimum average SpC of 2.5 was chosen

## Slide 17: Bottom-up proteomic considerations
Shared peptides (mapping to multiple proteins) are ambiguous and, therefore, problematic
Swiss-Prot canonical was used to reduce peptide degeneracy
There are still protein families with very similar sequences
  A separate, extended parsimony algorithm was run to identify and combine proteins into families if distinguishing peptide evidence was insufficient for independent quantification
There can also be motifs shared among more distant proteins that result in shared peptides between quantifiable proteins
  Spectral counts from shared peptides were fractionally split based on relative unique total spectral counts between the respective proteins

## Slide 18: Study design and statistical testing
Choroid and retina cells were from the same 5 donors
Paired study design was used
The R package edgeR was used on integral spectral count data exported from the results file
3454 proteins had average spectral counts exceeding 2.5
TMM normalization and glm models configured for a paired study design were used in edgeR
There were 626 expression candidates at an estimated FDR of 10% or less, 498 at 5% or less, and 338 at 1% or less

## Slide 19: edgeR model test
We expect a flat p-value distribution for non-candidates, and small p-values for true differential candidates. This looks correct.

## Slide 20: Expression candidate correlation plot
Ave HCEC

## Slide 21: Annotations
UniProt provides flat text format files for proteins that contain most of the information available in the web page views
These files can be parsed and annotations added to results sheets
Protein names, gene symbols, identifiers, accessions, key words, GO terms, comment fields, and cross-referenced information from other databases are available
Additional annotation columns were added for each protein
Selected annotation summaries were also generated for key words, GO terms, and Reactome pathways

## Slide 22: Files in preliminary summaries
HCEC_HREC_protein_summary_reference.xlsx, HCEC_HREC_protein_summary_sprot.xlsx, and HCEC_HREC_quant_protein_summary_sprot.xlsx: main results sheets. Identifications for each protein database (reference and quantitative results sheet.
candidate_plotter.xls: correlation plot showing differential candidates
GOTerms_report_high_candidates.txt: one of 4 GO term summaries. Text files can be opened in Excel for viewing. Organized by GO terms instead of by protein. Has frequency counts and hyperlinks. The three GO categories are stacked vertically in a single report. The suffixes tell what set of proteins were summarized (this one is the “high” designation expression candidates to see what terms are associated with those proteins.)
keyword_report… and pathway_report... : similar types of reports for other types of annotations.
…protein_ranker_results_v3.xlsx: worksheets for the protein ranking function q-value calculations